## Лист1
Сервисный склад
Заказной код | Наименование
Платы управления для преобразователей частоты
175Z2688 | Control unit VLT5000
175Z2624 | Control unit VLT5000/6000/8000
130B1126 | Control Card with safe stop for FC-301
130B1168 | Control Card w/o safe stop for FC-202
130B1167 | Control Card with safe stop for FC-202
130B1109 | Control Card for FC-302 coated
195N0600 | Control card VLT2800 without fieldbus
130B1150 | Control Card with safe stop for FC-102
130B1128 | Control Card w/o safe stop for FC-301
130B1151 | Control Card w/o safe stop for FC-102
132B0058 | Control Card FC-101
132B0027 | Control Card for FC-101 H6,H7 & H8 Frame
Платы для УПП
175G5705 | Kit, Main Ctrl PCB MCD500 G2-G5 T5 CV2
175G5601 | Kit, Main Ctrl PCB MCD500 G1 T5 CV2
175G5605 | Kit, Main Ctrl PCB MCD500 G2-G5 T5 CV2
175G5100 | MCD 3000 IDENTITY MODULE
175G9056 | Kit Bypass Relay 037-055
175G5627 | Kit, Model Board 790A MCD500
175G9004 | Remote Operator kit MCD200
175G3061 | MCD Remote Operator
175G5137 | MCD 3000 Cooling FAN
Панели управления
130B1107 | Панель управления LCP102
132B0101 | Панель управления LCP12
175N0131 | Панель управления LCP2
132B0254 | Панель управления LCP 21
132B0200 | Панель управления LCP 31
Прочие платы
130B1822 | Power Card 18kW 400V
176F8306 | Softcharge PCA w/ brkt coat. D frame
176F8305 | Gate drive PCA coated D frame
176F8626 | Gate drive board coated D/E/F frame
130B1938 | Power Card 75kW 400V
176F8522 | Soft Charge card VLT5122-5302 690V
176F8682 | Power Card 200kW 690V
176F3136 | Power Card NO 160kW 380-480V
176F8371 | Insulation block mains/motor terminal
130B1894 | Cur. transducercard 500V frame C1 and C3
176f3164 | Heatsink Fan DC 172x51
175Z3303 | IGBT FF200R12KE3
176F8361 | шлейф int pca
175Z4716 | terminal spare/terminal blok/95,0 ke62da
176F8440 | FUSE INTERNAL PWR CARD/FAN 4AMP 600V KTK
130B1884 | Dual IGBT Module 1200V 150A
176F8543 | CABLE AC POWER TO SOFTCHARGE D1
176F8529 | RECTIFIER SCR 160AMP 2200V
176F8344 | FAN TRANSFORMER ASSY. D FRAME
176F8336 | FUSE INTERNAL SOFTCHARGE 20AMP 500V
176F8309 | CURRENT SCALING CARD 3.79 OHM COATED
176F8311 | CURRENT SCALING CARD 2.56 OHM COATED
176F8364 | CABLE GATE DRIVE CARD TO IGBT MOD. D1
175Z3516 | Конденсаторы
176F8390 | Busbur IGBT to long busbar
Опции для преобразователей частоты
130B1143 | MCB109 Analog I/O
130B1212 | MCB101 Purpose I/O
130B1110 | MCB 105 Relay Card Output
130B1156 | USB extension Cable, 650mm
175Z0401 | LCP KIT 5000S
175Z7802 | LCP REMOTE KIT COMPACT IP54
175Z0929 | DD-AVP LCP Cable, 3m
130B1108 | MCB107 24VDC Supply uncoated for VLT® FC
130B7530 | Mounting Kit f. C Option, 40mm, A2/A3
130B1153 | MCO 351 KIT Positioning
130B1152 | MCO 350 KIT Synchronizing
130B1253 | MCO 351 KIT Positioning